## GSF
Green Space Factor Tool
South Dublin County Council
User input indicated by Orange fields |  | User Input
|  | Zoning lookup | Minimum GI Score
|  | REGEN | 0.5
1. Enter Development Site Area m² HERE► | 15000
Surface Type (see tab for detailed descriptions) | Factor | Proposed Surface Area m² | Factor Values
1. Short Lawn | 0.3 | 677.97 | 203.391
2. Tall Lawn (wild, not mown) | 0.5 | 0 | 0
Permeable Paving | 0.3 | 1483.69 | 445.107
Vegetation |  | 0 | 0
4a. Vegetation-Shrub below 3m | 0.4 | 3502.25 | 1400.9
4b. Vegetation-Shrub / Hedgerow above 3m | 0.5 | 0 | 0
4c. Vegetation-Pollinator friendly perennial planting | 0.5 | 525.34 | 262.67
4d. Vegetation-Preserved hedgerow | 1.2 | 0 | 0
Trees |  | 0 | 0
5a. New trees | 0.6 | 304 | 182.4
5b. Preserved trees | 1.2 |  | 0
7. SuDS intervention (rain garden, bioswale) | 0.6 | 660.94 | 396.564
Green Roof |  | 0 | 0
9a. Green Roofs - Intensive green roof (substrate is 200-1200mm in depth) | 0.7 | 2219.06 | 1553.342
9b. Green Roofs - Extensive green roof (substrate is 80-200mm in depth) | 0.6 | 5458 | 3274.8
10. Green wall | 0.4 | 0 | 0
11. Retained Open Water | 2 | 0 | 0
12. New open water | 1.5 | 401.29 | 601.935
Total Equivalent Surface Area of Greening Factors |  | 15232.54
| Green Factor Numerator | 8321.109
Minumum Required GI score | Final GI score | Result
0.5 | 0.55474 | Pass

## Sheet1
Zoning | Miniumum Score
Res | 0.5
RES-N | 0.5
SDZ | 0.5
REGEN | 0.5
TC | 0.5
DC | 0.5
VC | 0.5
MRC | 0.5
LC | 0.5
EE | 0.5
RW | 0.5
HA-DM | 0.7
HA-LV | 0.7
HA-DV | 0.7
OS | 0.7
RU | 0.7